Booster Pump

Permanent Magnet Variable Frequency Booster Pump

Our permanent magnet variable frequency booster pump operates a safe voltage of 24-48v running very silent at 30dB always giving you clean water without rust as cheaper traditional pumps will give you. The High-Efficiency Permanent Magnet Motor: Ensures maximum energy savings and smooth operation. It has a easy to use interface to set pump flow.

Product details

APPLICATION

· Well water lifting and water tower water filling
· Living water supply and garden irrigation
· Pipeline pressure boosting and supporting equipment (solar energy water supply system, water heater, etc.）
· Transfer clean water or non-corrosive liquid without solid particles and fibers

WORKING CONDITION

| Liquid temperature | 0 - 100℃ |
| --- | --- |
| Ambient temperature | 4 - 55℃ |
| Max. suction | +9m |
| Insulation | ClassH |
| Waterproof rating | IP55 |
| Duty cycle | S1 |
| Input voltage | Single phase 100-140V, 50/60Hz 160-240V, 50/60Hz |

MODEL INSTRUCTION

25ZPZ/24V/B/H20-Q2.0

25: Inlet&outlet diameter (mm)

ZPZ: Intelligent permanent magnet canned booster pump

24V: DC - 24V

B: Product series

H20：Max. head 20m

Q2.0：Max. flow 2.0m³/h

TECHNICAL PARAMETER  (n=12000r/min)

| Model | Voltage （V） | Power (W) | Power (HP) | Max. flow （m³/h） | Max. flow （l/min） | Max. head （m） | Max. suction （m） | Inlet&Outlet (inch) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 25ZPZ/24V/B/H20-Q2.0 | DC-24 | 84 | 0.1 | 2.0 | 33 | 20 | 9 | 1"×1" |
| 25ZPZ/30V/B/H25-Q2.2 | DC-30 | 105 | 0.1 | 2.2 | 37 | 25 | 9 | 1"×1" |
| 25ZPZ/36V/B/H30-Q2.4 | DC-36 | 126 | 0.2 | 2.4 | 40 | 30 | 9 | 1"×1" |
| 25ZPZ/40V/B/H35-Q2.5 | DC-40 | 160 | 0.2 | 2.5 | 42 | 35 | 9 | 1"×1" |